## elog.SOAR4m.20190125
Date (Local): | 25-26 Jan 2019
MJD: | 58509
Observers: | Butner Garcia Li Palmese DTucker JTucker
Assistant: | Patricio Ugarte & Carlos Corco
Supp. Scientist: | Sean Points
Instrument: | Goodman Spectrograph
Detector: | Blue Camera
Gain Setting: | 200kHz ATTN2 (2.67e-/ADU)
Binning: | 2x2
Configuration: | WD_400
Slitmask: | 1arcsec longslit (unless otherwise noted)
Conditions: | Clear
Tonight was the 1st night back in (partial) operations after the 6.7 magnitude earthquake near Coquimbo on the evening of January 19.
Pointing and guiding issues plagued operations throughout the night, drastically reducing observing efficiency, but, through the efforts of Sean Points, Patricio Ugarte, and Carlos Corco, we were still able to observe many of our targets.
expnum | filename | objname | ra | dec | lst | airmass | ut | grating | slit | exptime | comment
Using parallactic angle throughout (unless otherwise noted).
Target spectrum at/near line 485 in 2D spectrum (unless otherwise noted).
1 | 0001_focus.fits | Focus 400wd (Focus 400wd) | 22:46:33.240 | 22:15:46.277 | 22:48:05.430 | 1.66 | 19:11:48.708 | SYZY_400/400WD | 0.45" long slit | 1 | ROI: 1850, 400; focus: 0 --> +2400 in steps of 100
2 | 0002_focus.fits | Focus 400wd (Focus 400wd) | 22:46:43.263 | 22:15:46.189 | 22:48:15.461 | 1.66 | 19:11:58.712 | SYZY_400/400WD | 0.45" long slit | 1
3 | 0003_focus.fits | Focus 400wd (Focus 400wd) | 22:46:53.287 | 22:15:46.102 | 22:48:25.492 | 1.66 | 19:12:08.716 | SYZY_400/400WD | 0.45" long slit | 1
4 | 0004_focus.fits | Focus 400wd (Focus 400wd) | 22:47:03.311 | 22:15:46.015 | 22:48:35.523 | 1.66 | 19:12:18.720 | SYZY_400/400WD | 0.45" long slit | 1
5 | 0005_focus.fits | Focus 400wd (Focus 400wd) | 22:47:12.332 | 22:15:45.937 | 22:48:45.555 | 1.66 | 19:12:28.724 | SYZY_400/400WD | 0.45" long slit | 1
6 | 0006_focus.fits | Focus 400wd (Focus 400wd) | 22:47:22.355 | 22:15:45.850 | 22:48:55.586 | 1.66 | 19:12:37.727 | SYZY_400/400WD | 0.45" long slit | 1
7 | 0007_focus.fits | Focus 400wd (Focus 400wd) | 22:47:32.379 | 22:15:45.763 | 22:49:04.614 | 1.66 | 19:12:48.731 | SYZY_400/400WD | 0.45" long slit | 1
8 | 0008_focus.fits | Focus 400wd (Focus 400wd) | 22:47:42.403 | 22:15:45.677 | 22:49:14.645 | 1.66 | 19:12:57.735 | SYZY_400/400WD | 0.45" long slit | 1
9 | 0009_focus.fits | Focus 400wd (Focus 400wd) | 22:47:52.426 | 22:15:45.591 | 22:49:24.676 | 1.66 | 19:13:07.739 | SYZY_400/400WD | 0.45" long slit | 1
10 | 0010_focus.fits | Focus 400wd (Focus 400wd) | 22:48:02.450 | 22:15:45.505 | 22:49:34.708 | 1.66 | 19:13:17.743 | SYZY_400/400WD | 0.45" long slit | 1
11 | 0011_focus.fits | Focus 400wd (Focus 400wd) | 22:48:12.474 | 22:15:45.419 | 22:49:44.739 | 1.66 | 19:13:27.747 | SYZY_400/400WD | 0.45" long slit | 1
12 | 0012_focus.fits | Focus 400wd (Focus 400wd) | 22:48:22.497 | 22:15:45.334 | 22:49:54.770 | 1.66 | 19:13:37.751 | SYZY_400/400WD | 0.45" long slit | 1
13 | 0013_focus.fits | Focus 400wd (Focus 400wd) | 22:48:31.519 | 22:15:45.257 | 22:50:04.802 | 1.66 | 19:13:46.754 | SYZY_400/400WD | 0.45" long slit | 1 | Provisional best focus: +1663
14 | 0014_focus.fits | Focus 440wd | 22:54:44.419 | 22:15:42.219 | 22:56:16.963 | 1.66 | 19:19:58.900 | SYZY_400/400WD | 0.45" long slit | 1 | focus @ +1450
15 | 0015_focus.fits | Focus 440wd | 22:54:56.447 | 22:15:42.125 | 22:56:29.001 | 1.66 | 19:20:10.905 | SYZY_400/400WD | 0.45" long slit | 1 | focus @ +1500
16 | 0016_focus.fits | Focus 440wd | 22:55:26.518 | 22:15:41.893 | 22:57:00.098 | 1.66 | 19:20:41.917 | SYZY_400/400WD | 0.45" long slit | 1 | focus @ +1550
17 | 0017_focus.fits | Focus 440wd | 22:58:05.895 | 22:15:40.689 | 22:59:38.595 | 1.66 | 19:23:19.981 | SYZY_400/400WD | 0.45" long slit | 1 | focus @ +1475 --> FWHM in 3 regions: 3.04, 3.06, 3.01
Best focus: +1450
Note: line at 5460.7 Angstroms in HgNeAr lamp spectrum is at column 1186.
18 | 0018_qflat.fits | QTZ Flat | 23:12:41.954 | 22:15:34.959 | 23:14:15.332 | 1.66 | 19:37:54.324 | SYZY_400/400WD | 1.0" long slit | 1 | Sean Points recommends dome flats rather than quartz flats
(quartz flats have systematic noise in the red end of the spectrum)
19 | 0019_dflat.fits | Dome Flat | 23:16:14.454 | 22:15:33.797 | 23:17:47.998 | 1.66 | 19:41:26.409 | SYZY_400/400WD | 1.0" long slit | 7
20 | 0020_dflat.fits | Dome Flat | 23:19:12.871 | 22:15:32.891 | 23:20:46.554 | 1.66 | 19:44:24.478 | SYZY_400/400WD | 1.0" long slit | 7
21 | 0021_dflat.fits | Dome Flat | 23:19:31.916 | 22:15:32.798 | 23:21:05.613 | 1.66 | 19:44:43.485 | SYZY_400/400WD | 1.0" long slit | 7
22 | 0022_dflat.fits | Dome Flat | 23:19:50.960 | 22:15:32.705 | 23:21:24.673 | 1.66 | 19:45:02.493 | SYZY_400/400WD | 1.0" long slit | 7
23 | 0023_dflat.fits | Dome Flat | 23:20:10.005 | 22:15:32.614 | 23:21:43.732 | 1.66 | 19:45:21.500 | SYZY_400/400WD | 1.0" long slit | 7
24 | 0024_dflat.fits | Dome Flat | 23:20:29.049 | 22:15:32.523 | 23:22:02.792 | 1.66 | 19:45:41.508 | SYZY_400/400WD | 1.0" long slit | 7
25 | 0025_dflat.fits | Dome Flat | 23:20:48.093 | 22:15:32.433 | 23:22:22.854 | 1.66 | 19:45:59.515 | SYZY_400/400WD | 1.0" long slit | 7
26 | 0026_dflat.fits | Dome Flat | 23:21:08.140 | 22:15:32.338 | 23:22:41.913 | 1.66 | 19:46:19.522 | SYZY_400/400WD | 1.0" long slit | 7
27 | 0027_dflat.fits | Dome Flat | 23:21:27.185 | 22:15:32.250 | 23:23:00.973 | 1.66 | 19:46:38.530 | SYZY_400/400WD | 1.0" long slit | 7
28 | 0028_dflat.fits | Dome Flat | 23:21:46.229 | 22:15:32.162 | 23:23:20.032 | 1.66 | 19:46:57.537 | SYZY_400/400WD | 1.0" long slit | 7
29 | 0029_dflat.fits | Dome Flat | 23:22:05.273 | 22:15:32.075 | 23:23:39.091 | 1.66 | 19:47:16.544 | SYZY_400/400WD | 1.0" long slit | 7
30 | 0030_dflat.fits | Dome Flat | 23:22:24.318 | 22:15:31.988 | 23:23:59.154 | 1.66 | 19:47:36.552 | SYZY_400/400WD | 1.0" long slit | 7
31 | 0031_dflat.fits | Dome Flat | 23:22:43.362 | 22:15:31.902 | 23:24:18.213 | 1.66 | 19:47:55.559 | SYZY_400/400WD | 1.0" long slit | 7
32 | 0032_dflat.fits | Dome Flat | 23:23:03.409 | 22:15:31.813 | 23:24:37.272 | 1.66 | 19:48:14.566 | SYZY_400/400WD | 1.0" long slit | 7
33 | 0033_dflat.fits | Dome Flat | 23:23:22.453 | 22:15:31.728 | 23:24:56.331 | 1.66 | 19:48:33.573 | SYZY_400/400WD | 1.0" long slit | 7
34 | 0034_dflat.fits | Dome Flat | 23:23:41.498 | 22:15:31.645 | 23:25:16.394 | 1.66 | 19:48:53.581 | SYZY_400/400WD | 1.0" long slit | 7
35 | 0035_dflat.fits | Dome Flat | 23:24:01.545 | 22:15:31.558 | 23:25:35.453 | 1.66 | 19:49:12.589 | SYZY_400/400WD | 1.0" long slit | 7
36 | 0036_dflat.fits | Dome Flat | 23:24:19.587 | 22:15:31.480 | 23:25:54.513 | 1.66 | 19:49:31.596 | SYZY_400/400WD | 1.0" long slit | 7
37 | 0037_dflat.fits | Dome Flat | 23:24:39.633 | 22:15:31.394 | 23:26:13.572 | 1.66 | 19:49:50.603 | SYZY_400/400WD | 1.0" long slit | 7
38 | 0038_dflat.fits | Dome Flat | 23:24:58.678 | 22:15:31.313 | 23:26:32.631 | 1.66 | 19:50:09.610 | SYZY_400/400WD | 1.0" long slit | 7
39 | 0039_dflat.fits | Dome Flat | 23:25:17.722 | 22:15:31.233 | 23:26:51.690 | 1.66 | 19:50:29.618 | SYZY_400/400WD | 1.0" long slit | 7
40 | 0040_dflat.fits | Dome Flat | 23:25:36.767 | 22:15:31.154 | 23:27:11.753 | 1.66 | 19:50:48.625 | SYZY_400/400WD | 1.0" long slit | 7
41 | 0041_dflat.fits | Dome Flat | 23:25:56.814 | 22:15:31.072 | 23:27:30.812 | 1.66 | 19:51:07.633 | SYZY_400/400WD | 1.0" long slit | 7
42 | 0042_dflat.fits | Dome Flat | 23:26:15.858 | 22:15:30.994 | 23:27:49.871 | 1.66 | 19:51:26.640 | SYZY_400/400WD | 1.0" long slit | 7
43 | 0043_dflat.fits | Dome Flat | 23:26:34.902 | 22:15:30.917 | 23:28:08.931 | 1.66 | 19:51:45.647 | SYZY_400/400WD | 1.0" long slit | 7
44 | 0044_dflat.fits | Dome Flat | 23:26:53.947 | 22:15:30.840 | 23:28:28.993 | 1.66 | 19:52:04.654 | SYZY_400/400WD | 1.0" long slit | 7
45 | 0045_dflat.fits | Dome Flat | 23:27:13.993 | 22:15:30.761 | 23:28:48.052 | 1.66 | 19:52:24.662 | SYZY_400/400WD | 1.0" long slit | 7
46 | 0046_dflat.fits | Dome Flat | 23:27:33.038 | 22:15:30.686 | 23:29:07.112 | 1.66 | 19:52:43.669 | SYZY_400/400WD | 1.0" long slit | 7
47 | 0047_dflat.fits | Dome Flat | 23:27:52.082 | 22:15:30.612 | 23:29:26.171 | 1.66 | 19:53:02.676 | SYZY_400/400WD | 1.0" long slit | 7
48 | 0048_dflat.fits | Dome Flat | 23:28:11.127 | 22:15:30.539 | 23:29:45.230 | 1.66 | 19:53:21.684 | SYZY_400/400WD | 1.0" long slit | 7
49 | 0049_dflat.fits | Dome Flat | 23:28:30.171 | 22:15:30.466 | 23:30:05.293 | 1.66 | 19:53:40.691 | SYZY_400/400WD | 1.0" long slit | 7
50 | 0050_dflat.fits | Dome Flat | 23:28:50.218 | 22:15:30.390 | 23:30:24.352 | 1.66 | 19:54:00.699 | SYZY_400/400WD | 1.0" long slit | 7
51 | 0051_dflat.fits | Dome Flat | 23:29:09.262 | 22:15:30.319 | 23:30:43.411 | 1.66 | 19:54:19.706 | SYZY_400/400WD | 1.0" long slit | 7
52 | 0052_dflat.fits | Dome Flat | 23:29:28.306 | 22:15:30.249 | 23:31:02.471 | 1.66 | 19:54:38.713 | SYZY_400/400WD | 1.0" long slit | 7
53 | 0053_dflat.fits | Dome Flat | 23:29:47.351 | 22:15:30.179 | 23:31:21.530 | 1.66 | 19:54:57.720 | SYZY_400/400WD | 1.0" long slit | 7
54 | 0054_dflat.fits | Dome Flat | 23:30:07.398 | 22:15:30.106 | 23:31:40.589 | 1.66 | 19:55:17.728 | SYZY_400/400WD | 1.0" long slit | 7
55 | 0055_dflat.fits | Dome Flat | 23:30:25.439 | 22:15:29.682 | 23:32:00.651 | 1.66 | 19:55:36.735 | SYZY_400/400WD | 1.0" long slit | 7
56 | 0056_dflat.fits | Dome Flat | 23:30:45.486 | 22:15:29.971 | 23:32:19.711 | 1.66 | 19:55:55.742 | SYZY_400/400WD | 1.0" long slit | 7
57 | 0057_dflat.fits | Dome Flat | 23:31:04.531 | 22:15:29.544 | 23:32:38.770 | 1.66 | 19:56:14.750 | SYZY_400/400WD | 1.0" long slit | 7
58 | 0058_dflat.fits | Dome Flat | 23:31:23.575 | 22:15:29.478 | 23:32:57.829 | 1.66 | 19:56:34.757 | SYZY_400/400WD | 1.0" long slit | 7
59 | 0059_dflat.fits | Dome Flat | 23:31:42.619 | 22:15:29.412 | 23:33:17.892 | 1.66 | 19:56:53.764 | SYZY_400/400WD | 1.0" long slit | 7
60 | 0060_dflat.fits | Dome Flat | 23:32:02.666 | 22:15:29.344 | 23:33:36.951 | 1.66 | 19:57:12.772 | SYZY_400/400WD | 1.0" long slit | 7
61 | 0061_dflat.fits | Dome Flat | 23:32:21.710 | 22:15:29.281 | 23:33:56.010 | 1.66 | 19:57:31.779 | SYZY_400/400WD | 1.0" long slit | 7
62 | 0062_dflat.fits | Dome Flat | 23:32:40.755 | 22:15:29.217 | 23:34:15.070 | 1.66 | 19:57:50.786 | SYZY_400/400WD | 1.0" long slit | 7
63 | 0063_dflat.fits | Dome Flat | 23:32:59.799 | 22:15:29.155 | 23:34:34.129 | 1.66 | 19:58:09.794 | SYZY_400/400WD | 1.0" long slit | 7
64 | 0064_dflat.fits | Dome Flat | 23:33:18.844 | 22:15:29.093 | 23:34:54.192 | 1.66 | 19:58:28.801 | SYZY_400/400WD | 1.0" long slit | 7
65 | 0065_dflat.fits | Dome Flat | 23:33:38.890 | 22:15:29.029 | 23:35:13.251 | 1.66 | 19:58:48.809 | SYZY_400/400WD | 1.0" long slit | 7
66 | 0066_dflat.fits | Dome Flat | 23:33:57.935 | 22:15:28.969 | 23:35:32.310 | 1.66 | 19:59:07.816 | SYZY_400/400WD | 1.0" long slit | 7
67 | 0067_dflat.fits | Dome Flat | 23:34:16.979 | 22:15:28.910 | 23:35:51.370 | 1.66 | 19:59:26.823 | SYZY_400/400WD | 1.0" long slit | 7
68 | 0068_dflat.fits | Dome Flat | 23:34:36.024 | 22:15:29.211 | 23:36:11.432 | 1.66 | 19:59:45.831 | SYZY_400/400WD | 1.0" long slit | 7
69 | 0069_dflat.fits | Dome Flat | 23:34:56.070 | 22:15:29.150 | 23:36:30.491 | 1.66 | 20:00:05.838 | SYZY_400/400WD | 1.0" long slit | 7 | GACAM cross-hairs at (x,y)=(254,344)
70 | 0070_comp.fits | HgAr Ne | 23:48:17.939 | 22:15:27.010 | 23:49:52.988 | 1.66 | 20:13:26.144 | SYZY_400/400WD | 1.0" long slit | 0.3 | Sean Points suggests taking several sequential comp lamp exposures,
71 | 0071_comp.fits | HgAr Ne | 23:49:47.147 | 22:15:26.892 | 23:51:23.269 | 1.66 | 20:14:56.179 | SYZY_400/400WD | 1.0" long slit | 0.3 | since it takes about a minute for the lamp to warm up enough to
72 | 0072_comp.fits | HgAr Ne | 23:50:00.177 | 22:15:26.876 | 23:51:35.307 | 1.66 | 20:15:08.183 | SYZY_400/400WD | 1.0" long slit | 0.3 | obtain good signal for the few lines in the blue end of the HgArNe spectrum.
73 | 0073_comp.fits | HgAr Ne | 23:50:12.205 | 22:15:26.862 | 23:51:48.347 | 1.66 | 20:15:20.188 | SYZY_400/400WD | 1.0" long slit | 0.3
74 | 0074_comp.fits | HgAr Ne | 23:50:25.236 | 22:15:26.846 | 23:52:00.385 | 1.66 | 20:15:33.193 | SYZY_400/400WD | 1.0" long slit | 0.3 | Probably best to use the final comp in each comp sequence.
75 | 0075_bias.fits | ZERO | 23:52:35.539 | 22:15:26.712 | 23:54:09.788 | 1.66 | 20:17:43.243 | SYZY_400/400WD | 1.0" long slit | 0
76 | 0076_bias.fits | ZERO | 23:52:46.565 | 22:15:26.703 | 23:54:22.828 | 1.66 | 20:17:55.247 | SYZY_400/400WD | 1.0" long slit | 0
77 | 0077_bias.fits | ZERO | 23:52:58.593 | 22:15:26.692 | 23:54:34.866 | 1.66 | 20:18:07.252 | SYZY_400/400WD | 1.0" long slit | 0
78 | 0078_bias.fits | ZERO | 23:53:11.623 | 22:15:26.681 | 23:54:46.903 | 1.66 | 20:18:19.256 | SYZY_400/400WD | 1.0" long slit | 0
79 | 0079_bias.fits | ZERO | 23:53:23.651 | 22:15:26.671 | 23:54:58.940 | 1.66 | 20:18:31.261 | SYZY_400/400WD | 1.0" long slit | 0
80 | 0080_bias.fits | ZERO | 23:53:35.679 | 22:15:26.662 | 23:55:10.978 | 1.66 | 20:18:43.265 | SYZY_400/400WD | 1.0" long slit | 0
81 | 0081_bias.fits | ZERO | 23:53:47.707 | 22:15:26.653 | 23:55:23.015 | 1.66 | 20:18:55.270 | SYZY_400/400WD | 1.0" long slit | 0
82 | 0082_bias.fits | ZERO | 23:54:00.738 | 22:15:26.643 | 23:55:35.053 | 1.66 | 20:19:08.275 | SYZY_400/400WD | 1.0" long slit | 0
83 | 0083_bias.fits | ZERO | 23:54:11.763 | 22:15:26.635 | 23:55:48.093 | 1.66 | 20:19:20.280 | SYZY_400/400WD | 1.0" long slit | 0
84 | 0084_bias.fits | ZERO | 23:54:24.794 | 22:15:26.626 | 23:56:00.131 | 1.66 | 20:19:32.284 | SYZY_400/400WD | 1.0" long slit | 0
85 | 0085_bias.fits | ZERO | 23:54:36.822 | 22:15:26.618 | 23:56:12.168 | 1.66 | 20:19:44.289 | SYZY_400/400WD | 1.0" long slit | 0
86 | 0086_bias.fits | ZERO | 23:54:48.850 | 22:15:26.611 | 23:56:24.206 | 1.66 | 20:19:56.294 | SYZY_400/400WD | 1.0" long slit | 0
87 | 0087_bias.fits | ZERO | 23:55:00.878 | 22:15:26.603 | 23:56:36.244 | 1.66 | 20:20:09.299 | SYZY_400/400WD | 1.0" long slit | 0
88 | 0088_bias.fits | ZERO | 23:55:12.906 | 22:15:26.596 | 23:56:49.284 | 1.66 | 20:20:21.303 | SYZY_400/400WD | 1.0" long slit | 0
89 | 0089_bias.fits | ZERO | 23:55:24.934 | 22:15:26.589 | 23:57:01.322 | 1.66 | 20:20:32.307 | SYZY_400/400WD | 1.0" long slit | 0
90 | 0090_bias.fits | ZERO | 23:55:37.965 | 22:15:26.582 | 23:57:13.359 | 1.66 | 20:20:45.312 | SYZY_400/400WD | 1.0" long slit | 0
91 | 0091_bias.fits | ZERO | 23:55:49.993 | 22:15:26.576 | 23:57:25.396 | 1.66 | 20:20:57.317 | SYZY_400/400WD | 1.0" long slit | 0
92 | 0092_bias.fits | ZERO | 23:56:02.021 | 22:15:26.570 | 23:57:37.434 | 1.66 | 20:21:09.321 | SYZY_400/400WD | 1.0" long slit | 0
93 | 0093_bias.fits | ZERO | 23:56:14.049 | 22:15:26.564 | 23:57:49.471 | 1.66 | 20:21:21.326 | SYZY_400/400WD | 1.0" long slit | 0
94 | 0094_bias.fits | ZERO | 23:56:27.079 | 22:15:26.559 | 23:58:01.508 | 1.66 | 20:21:34.331 | SYZY_400/400WD | 1.0" long slit | 0
95 | 0095_bias.fits | ZERO | 23:56:39.107 | 22:15:26.553 | 23:58:13.546 | 1.66 | 20:21:46.335 | SYZY_400/400WD | 1.0" long slit | 0
96 | 0096_bias.fits | ZERO | 23:56:51.135 | 22:15:26.549 | 23:58:26.586 | 1.66 | 20:21:58.340 | SYZY_400/400WD | 1.0" long slit | 0
97 | 0097_bias.fits | ZERO | 23:57:03.163 | 22:15:26.544 | 23:58:38.624 | 1.66 | 20:22:10.344 | SYZY_400/400WD | 1.0" long slit | 0
98 | 0098_bias.fits | ZERO | 23:57:15.191 | 22:15:26.540 | 23:58:50.661 | 1.66 | 20:22:22.349 | SYZY_400/400WD | 1.0" long slit | 0
99 | 0099_bias.fits | ZERO | 23:57:27.219 | 22:15:26.536 | 23:59:02.699 | 1.66 | 20:22:34.354 | SYZY_400/400WD | 1.0" long slit | 0
100 | 0100_bias.fits | ZERO | 23:57:39.247 | 22:15:26.533 | 23:59:14.736 | 1.66 | 20:22:46.358 | SYZY_400/400WD | 1.0" long slit | 0
101 | 0101_bias.fits | ZERO | 23:57:51.275 | 22:15:26.529 | 23:59:26.773 | 1.66 | 20:22:59.363 | SYZY_400/400WD | 1.0" long slit | 0
102 | 0102_bias.fits | ZERO | 23:58:03.303 | 22:15:26.526 | 23:59:39.814 | 1.66 | 20:23:11.367 | SYZY_400/400WD | 1.0" long slit | 0
103 | 0103_bias.fits | ZERO | 23:58:16.333 | 22:15:26.523 | 23:59:51.851 | 1.66 | 20:23:23.372 | SYZY_400/400WD | 1.0" long slit | 0
104 | 0104_bias.fits | ZERO | 23:58:28.361 | 22:15:26.521 | 00:00:03.889 | 1.66 | 20:23:35.377 | SYZY_400/400WD | 1.0" long slit | 0
105 | 0105_bias.fits | ZERO | 23:58:40.390 | 22:15:26.519 | 00:00:15.926 | 1.66 | 20:23:47.381 | SYZY_400/400WD | 1.0" long slit | 0
106 | 0106_bias.fits | ZERO | 23:58:52.418 | 22:15:26.517 | 00:00:27.964 | 1.66 | 20:24:00.386 | SYZY_400/400WD | 1.0" long slit | 0
107 | 0107_bias.fits | ZERO | 23:59:04.446 | 22:15:26.516 | 00:00:41.005 | 1.66 | 20:24:11.391 | SYZY_400/400WD | 1.0" long slit | 0
108 | 0108_bias.fits | ZERO | 23:59:16.474 | 22:15:26.514 | 00:00:53.042 | 1.66 | 20:24:23.395 | SYZY_400/400WD | 1.0" long slit | 0
109 | 0109_bias.fits | ZERO | 23:59:29.504 | 22:15:26.513 | 00:01:05.079 | 1.66 | 20:24:36.400 | SYZY_400/400WD | 1.0" long slit | 0
110 | 0110_bias.fits | ZERO | 23:59:41.532 | 22:15:26.513 | 00:01:17.117 | 1.66 | 20:24:48.405 | SYZY_400/400WD | 1.0" long slit | 0
111 | 0111_bias.fits | ZERO | 23:59:53.560 | 22:15:26.512 | 00:01:29.154 | 1.66 | 20:25:00.409 | SYZY_400/400WD | 1.0" long slit | 0
112 | 0112_bias.fits | ZERO | 00:00:05.588 | 22:15:26.512 | 00:01:41.192 | 1.66 | 20:25:12.414 | SYZY_400/400WD | 1.0" long slit | 0
113 | 0113_bias.fits | ZERO | 00:00:17.617 | 22:15:26.512 | 00:01:53.229 | 1.66 | 20:25:24.419 | SYZY_400/400WD | 1.0" long slit | 0
114 | 0114_bias.fits | ZERO | 00:00:29.645 | 22:15:26.513 | 00:02:05.267 | 1.66 | 20:25:36.423 | SYZY_400/400WD | 1.0" long slit | 0
115 | 0115_bias.fits | ZERO | 00:00:42.675 | 22:15:26.514 | 00:02:18.307 | 1.66 | 20:25:49.428 | SYZY_400/400WD | 1.0" long slit | 0
116 | 0116_bias.fits | ZERO | 00:00:54.703 | 22:15:26.515 | 00:02:30.345 | 1.66 | 20:26:01.433 | SYZY_400/400WD | 1.0" long slit | 0
117 | 0117_bias.fits | ZERO | 00:01:06.731 | 22:15:26.517 | 00:02:42.382 | 1.66 | 20:26:13.437 | SYZY_400/400WD | 1.0" long slit | 0
118 | 0118_bias.fits | ZERO | 00:01:18.759 | 22:15:26.518 | 00:02:54.420 | 1.66 | 20:26:25.442 | SYZY_400/400WD | 1.0" long slit | 0
119 | 0119_bias.fits | ZERO | 00:01:30.787 | 22:15:26.520 | 00:03:06.457 | 1.66 | 20:26:37.446 | SYZY_400/400WD | 1.0" long slit | 0
120 | 0120_bias.fits | ZERO | 00:01:42.815 | 22:15:26.522 | 00:03:19.498 | 1.66 | 20:26:49.451 | SYZY_400/400WD | 1.0" long slit | 0
121 | 0121_bias.fits | ZERO | 00:01:54.843 | 22:15:26.525 | 00:03:31.535 | 1.66 | 20:27:02.456 | SYZY_400/400WD | 1.0" long slit | 0
122 | 0122_bias.fits | ZERO | 00:02:06.871 | 22:15:26.528 | 00:03:43.572 | 1.66 | 20:27:14.460 | SYZY_400/400WD | 1.0" long slit | 0
123 | 0123_bias.fits | ZERO | 00:02:19.902 | 22:15:26.531 | 00:03:55.610 | 1.66 | 20:27:26.465 | SYZY_400/400WD | 1.0" long slit | 0
124 | 0124_bias.fits | ZERO | 00:02:31.930 | 22:15:26.535 | 00:04:07.648 | 1.66 | 20:27:38.470 | SYZY_400/400WD | 1.0" long slit | 0
125 | 0125_bias.fits | ZERO | 00:02:43.958 | 22:15:26.539 | 00:04:19.685 | 1.66 | 20:27:50.474 | SYZY_400/400WD | 1.0" long slit | 0
126 | 0126_eg21.fits | EG21 (standard star) | 03:10:30.376 | -68:36:05.453 | 05:01:42.423 | 1.34 | 01:24:24.495 | <NO GRATING>/400WD | 1.0" long slit | 0.5 | "Old School" target acquisition exposure.
127 | 0127_eg21.fits | EG21 (standard star) | 03:10:30.285 | -68:36:06.213 | 05:06:34.336 | 1.35 | 01:29:15.611 | <NO GRATING>/400WD | 1.0" long slit | 0.5 | "Old School" target acquisition exposure.
128 | 0128_eg21.fits | EG21 (standard star) | 03:10:30.910 | -68:36:41.955 | 05:09:40.920 | 1.35 | 01:32:21.685 | <NO GRATING>/400WD | 1.0" long slit | 0.5 | "Old School" target acquisition exposure.
129 | 0129_eg21.fits | EG21 (standard star) | 03:10:31.033 | -68:36:41.490 | 05:14:43.865 | 1.36 | 01:37:24.804 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
130 | 0130_eg21.fits | EG21 (standard star) | 03:10:30.781 | -68:36:42.942 | 05:19:28.756 | 1.36 | 01:42:07.916 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
131 | 0131_eg21.fits | EG21 (standard star) | 03:10:30.918 | -68:36:41.968 | 05:20:41.985 | 1.37 | 01:43:20.945 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum. GACAM cross-hairs at 263,265 (259,445 in Goodman coord's)
132 | 0132_eg21.fits | HgAr Ne | 03:10:30.928 | -68:36:41.861 | 05:23:41.545 | 1.37 | 01:46:20.016 | SYZY_400/400WD | 1.0" long slit | 0.3
133 | 0133_sssj023936.fits | sssj023936.3-430658 (obj 131) | 02:39:35.927 | -43:07:14.616 | 05:48:43.238 | 1.3 | 02:11:17.608 | SYZY_400/400WD | 1.0" long slit | 130 | Spectrum. Repeat observation of a December 2014 SOAR target.
134 | 0134_sssj023936.fits | sssj023936.3-430658 (obj 131) | 02:39:35.927 | -43:07:14.546 | 05:54:13.269 | 1.32 | 02:16:46.738 | SYZY_400/400WD | 1.0" long slit | 130 | Spectrum.
135 | 0135_sssj023936.fits | sssj023936.3-430658 (obj 131) | 02:39:36.037 | -43:07:14.624 | 05:56:36.717 | 1.32 | 02:19:08.794 | SYZY_400/400WD | 1.0" long slit | 130 | Spectrum.
136 | 0136_sssj023936.fits | HgAr Ne | 02:39:35.949 | -43:07:14.611 | 06:02:19.789 | 1.35 | 02:24:51.930 | SYZY_400/400WD | 1.0" long slit | 0.3
137 | 0137_obj216_acq.fits | sssj043658.9-545614 (obj 216) | 04:36:59.576 | -54:56:19.738 | 06:22:51.033 | 1.17 | 02:45:19.812 | <NO GRATING>/400WD | 1.0" long slit | 2 | "Old School" target acquisition exposure.
138 | 0138_obj216_acq.fits | sssj043658.9-545614 (obj 216) | 04:36:59.624 | -54:56:19.151 | 06:25:37.554 | 1.17 | 02:48:05.878 | <NO GRATING>/400WD | 1.0" long slit | 2 | "Old School" target acquisition exposure.
139 | 0139_obj216_acq.fits | sssj043658.9-545614 (obj 216) | 04:36:59.570 | -54:56:35.082 | 06:28:10.030 | 1.18 | 02:50:37.938 | <NO GRATING>/400WD | 1.0" long slit | 2 | "Old School" target acquisition exposure.
140 | 0140_obj216.fits | sssj043658.9-545614 (obj 216) | 04:36:59.565 | -54:56:34.971 | 06:31:39.684 | 1.18 | 02:54:08.020 | SYZY_400/400WD | 1.0" long slit | 130 | Spectrum. Repeat observation of a December 2014 SOAR target.
141 | 0141_obj216.fits | sssj043658.9-545614 (obj 216) | 04:36:59.610 | -54:56:34.709 | 06:36:22.568 | 1.19 | 02:58:49.131 | SYZY_400/400WD | 1.0" long slit | 130 | Spectrum.
142 | 0142_obj216.fits | sssj043658.9-545614 (obj 216) | 04:36:59.557 | -54:56:34.840 | 06:38:45.013 | 1.19 | 03:01:11.187 | SYZY_400/400WD | 1.0" long slit | 130 | Spectrum.
143 | 0143_obj216_comp.fits | HgAr Ne | 04:36:59.604 | -54:56:34.924 | 06:42:15.672 | 1.2 | 03:04:40.270 | SYZY_400/400WD | 1.0" long slit | 0.3
144 | 0144_obj216_comp.fits | HgAr Ne | 04:36:59.567 | -54:56:35.117 | 06:42:42.756 | 1.2 | 03:05:08.281 | SYZY_400/400WD | 1.0" long slit | 0.3
145 | 0145_obj239_acq.fits | SSSJ052556.7-331735 (obj 239) | 05:25:56.713 | -33:17:35.026 | 07:04:06.765 | 1.07 | 03:26:28.784 | <NO GRATING>/400WD | 1.0" long slit | 5 | "Old School" target acquisition exposure.
(Attempted) repeat observation of a December 2014 SOAR target.
Can't find target; moving to a bright (standard) star.
146 | 0146_ltt2415.fits | ltt2415 (standard star) | 05:56:25.480 | -27:51:32.710 | 07:15:10.840 | 1.05 | 03:37:31.046 | <NO GRATING>/400WD | 1.0" long slit | 1 | "Old School" target acquisition exposure.
147 | 0147_ltt2415.fits | ltt2415 (standard star) | 05:56:24.199 | -27:51:25.990 | 07:35:13.595 | 1.08 | 03:57:30.517 | <NO GRATING>/400WD | 1.0" long slit | 1 | "Old School" target acquisition exposure.
148 | 0148_test.fits | ltt2415 (standard star) | 05:50:57.662 | -35:45:59.918 | 08:09:13.514 | 1.15 | 04:31:24.866 | <NO GRATING>/400WD | 1.0" long slit | 1 | "Old School" target acquisition exposure.
149 | 0149_test.fits | ltt2415 (standard star) | 05:50:57.661 | -35:46:00.067 | 08:10:37.777 | 1.15 | 04:32:49.900 | <NO GRATING>/400WD | <NO MASK> | 1 | "Old School" target acquisition exposure.
150 | 0150_test.fits | ltt2415 (standard star) | 05:50:57.645 | -35:45:59.892 | 08:11:44.988 | 1.15 | 04:33:54.927 | <NO GRATING>/400WD | <NO MASK> | 1 | "Old School" target acquisition exposure.
151 | 0151_test.fits | ltt2415 (standard star) | 11:46:39.297 | -64:46:31.842 | 08:32:58.967 | 1.44 | 04:55:06.427 | <NO GRATING>/400WD | <NO MASK> | 1 | "Old School" target acquisition exposure.
152 | 0152_test.fits | ltt2415 (standard star) | 11:45:52.304 | -64:49:31.045 | 08:37:33.824 | 1.43 | 04:59:40.534 | <NO GRATING>/400WD | <NO MASK> | 1 | "Old School" target acquisition exposure.
153 | 0153_test.fits | ltt2415 (standard star) | 11:45:52.162 | -64:51:07.298 | 08:40:58.463 | 1.42 | 05:03:04.614 | <NO GRATING>/400WD | <NO MASK> | 1 | "Old School" target acquisition exposure.
154 | 0154_ltt4364.fits | ltt4364 (standard star) | 11:45:54.367 | -64:51:22.930 | 08:55:22.165 | 1.39 | 05:17:25.958 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum. Not at parallactic angle.
155 | 0155_ltt4364.fits | ltt4364 (standard star) | 11:45:54.626 | -64:51:23.883 | 08:59:25.926 | 1.38 | 05:21:29.053 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
156 | 0156_ltt4364.fits | ltt4364 (standard star) | 11:45:54.401 | -64:51:22.922 | 09:00:41.161 | 1.38 | 05:22:44.082 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
157 | 0157_ltt4364_comp.fits | HgAr Ne | 11:45:54.400 | -64:51:23.041 | 09:03:35.707 | 1.37 | 05:25:38.152 | SYZY_400/400WD | 1.0" long slit | 0.3
158 | 0158_obj_1404_acq.fits | GALEXJ061159.11-591553.2 (Obj 1404) | 06:11:58.740 | -59:15:52.376 | 09:17:36.333 | 1.36 | 05:39:36.483 | <NO GRATING>/400WD | 1.0" long slit | 2 | "Old School" target acquisition exposure.
159 | 0159_obj_1404_acq.fits | GALEXJ061159.11-591553.2 (Obj 1404) | 06:11:58.801 | -59:15:52.261 | 09:17:51.380 | 1.36 | 05:39:50.488 | <NO GRATING>/400WD | 1.0" long slit | 2 | "Old School" target acquisition exposure.
160 | 0160_obj_1404.fits | GALEXJ061159.11-591553.2 (Obj 1404) | 06:11:57.913 | -59:16:04.545 | 09:30:35.769 | 1.4 | 05:52:33.790 | SYZY_400/400WD | 1.0" long slit | 120 | Spectrum. Not a DA WD. Moving to next target.
161 | 0161_obj_1404_comp.fits | HgAr Ne (comp) | 06:11:58.508 | -59:16:03.284 | 09:45:26.551 | 1.44 | 06:07:22.140 | SYZY_400/400WD | 1.0" long slit | 0.3
162 | 0162_obj_1413.fits | GALEXJ104401.51-210523.2 (Obj 1413) | 10:44:01.308 | -21:05:02.762 | 10:13:12.750 | 1.02 | 06:35:03.791 | SYZY_400/400WD | 1.0" long slit | 170 | Spectrum.
163 | 0163_obj_1413.fits | GALEXJ104401.51-210523.2 (Obj 1413) | 10:44:01.313 | -21:05:02.745 | 10:18:37.765 | 1.02 | 06:40:27.918 | SYZY_400/400WD | 1.0" long slit | 170 | Spectrum.
164 | 0164_obj_1413.fits | GALEXJ104401.51-210523.2 (Obj 1413) | 10:44:01.282 | -21:05:03.172 | 10:21:40.335 | 1.02 | 06:43:30.989 | SYZY_400/400WD | 1.0" long slit | 170 | Spectrum.
165 | 0165_obj_1413_comp.fits | HgAr Ne (comp) | 10:44:01.295 | -21:05:02.863 | 10:26:08.171 | 1.02 | 06:47:57.094 | SYZY_400/400WD | 1.0" long slit | 0.3
166 | 0166_obj_1413_comp.fits | HgAr Ne (comp) | 10:44:01.302 | -21:05:02.693 | 10:26:20.208 | 1.02 | 06:48:09.098 | SYZY_400/400WD | 1.0" long slit | 0.3
167 | 0167_obj_1413_comp.fits | HgAr Ne (comp) | 10:44:01.294 | -21:05:03.015 | 10:26:33.249 | 1.02 | 06:48:22.103 | SYZY_400/400WD | 1.0" long slit | 0.3
168 | 0168_obj_1420.fits | GALEXJ111142.94-221838.3 (Obj 1420) | 11:14:43.253 | -22:18:16.261 | 10:34:44.231 | 1.02 | 06:56:32.746 | SYZY_400/400WD | 1.0" long slit | 140 | Spectrum. Not a DA WD. Moving to next target.
(Also, minor typo in object name in FITS header.)
169 | 0169_obj_1426.fits | GALEXJ113406.03-221929.6 (Obj 1426) | 11:34:06.957 | -22:19:01.894 | 10:46:13.385 | 1.03 | 07:07:59.017 | SYZY_400/400WD | 1.0" long slit | 270 | Spectrum. Not a DA WD. Moving to next target.
170 | 0170_obj_1428.fits | GALEXJ113524.14-265441.6 (Obj 1428) | 11:35:25.845 | -26:54:19.206 | 11:00:03.975 | 1.01 | 07:21:47.340 | SYZY_400/400WD | 1.0" long slit | 270 | Spectrum. This one looks like a DA WD!
171 | 0171_obj_1428.fits | GALEXJ113524.14-265441.6 (Obj 1428) | 11:35:25.864 | -26:54:19.127 | 11:06:55.258 | 1.01 | 07:28:37.499 | SYZY_400/400WD | 1.0" long slit | 270 | Spectrum.
172 | 0172_obj_1428.fits | GALEXJ113524.14-265441.6 (Obj 1428) | 11:35:25.829 | -26:54:19.317 | 11:11:38.140 | 1.01 | 07:33:19.609 | SYZY_400/400WD | 1.0" long slit | 270 | Spectrum.
173 | 0173_obj_1428_comp.fits | HgAr Ne (comp) | 11:35:25.849 | -26:54:19.196 | 11:17:03.155 | 1 | 07:38:43.737 | SYZY_400/400WD | 1.0" long slit | 0.3
174 | 0174_obj_1428_comp.fits | HgAr Ne (comp) | 11:35:25.872 | -26:54:19.011 | 11:17:16.196 | 1 | 07:38:56.742 | SYZY_400/400WD | 1.0" long slit | 0.3
175 | 0175_obj_1428_comp.fits | HgAr Ne (comp) | 11:35:25.834 | -26:54:19.294 | 11:17:28.234 | 1 | 07:39:08.747 | SYZY_400/400WD | 1.0" long slit | 0.3
176 | 0176_obj_1431.fits | GALEXJ113657.03-263002.0 (Obj 1431) | 11:36:58.179 | -26:29:40.246 | 11:27:47.171 | 1 | 07:49:25.994 | SYZY_400/400WD | 1.0" long slit | 360 | Spectrum. | Slight tremor (aftershock) during 1st exp of this sequence.
177 | 0177_obj_1431.fits | GALEXJ113657.03-263002.0 (Obj 1431) | 11:36:58.158 | -26:29:40.574 | 11:34:55.510 | 1 | 07:56:34.164 | SYZY_400/400WD | 1.0" long slit | 360 | Spectrum.
178 | 0178_obj_1431.fits | GALEXJ113657.03-263002.0 (Obj 1431) | 11:36:58.153 | -26:29:40.393 | 11:42:52.999 | 1 | 08:04:29.349 | SYZY_400/400WD | 1.0" long slit | 360 | Spectrum.
179 | 0179_obj_1431.fits | GALEXJ113657.03-263002.0 (Obj 1431) | 11:36:58.156 | -26:29:40.512 | 11:49:06.163 | 1 | 08:10:41.494 | SYZY_400/400WD | 1.0" long slit | 360 | Spectrum.
180 | 0180_obj_1431_comp.fits | HgAr Ne (comp) | 11:36:58.145 | -26:29:40.596 | 11:55:53.433 | 1 | 08:17:27.653 | SYZY_400/400WD | 1.0" long slit | 360 | BAD: Over-exposured comp lamp exposure.
181 | 0181_obj_1431_comp.fits | HgAr Ne (comp) | 11:36:58.135 | -26:29:40.388 | 12:02:06.598 | 1.01 | 08:23:39.798 | SYZY_400/400WD | 1.0" long slit | 360 | BAD: Over-exposured comp lamp exposure.
182 | 0182_obj_1431_comp.fits | HgAr Ne (comp) | 11:36:58.164 | -26:29:40.699 | 12:08:19.766 | 1.01 | 08:29:51.948 | SYZY_400/400WD | 1.0" long slit | 360 | BAD: Over-exposured comp lamp exposure.
183 | 0183_obj_1431_comp.fits | HgAr Ne (comp) | 11:36:58.142 | -26:29:40.637 | 12:15:13.055 | 1.01 | 08:36:44.108 | SYZY_400/400WD | 1.0" long slit | 0.3
184 | 0184_obj_1431_comp.fits | HgAr Ne (comp) | 11:36:58.146 | -26:29:40.657 | 12:15:25.092 | 1.01 | 08:36:57.113 | SYZY_400/400WD | 1.0" long slit | 0.3
185 | 0185_obj_1431_comp.fits | HgAr Ne (comp) | 11:36:58.156 | -26:29:40.627 | 12:15:38.133 | 1.01 | 08:37:09.118 | SYZY_400/400WD | 1.0" long slit | 0.3
186 | 0186_std_star_cd32.fits | cd32 (CD-32 Standard) | 14:11:48.822 | -33:02:43.407 | 12:42:33.177 | 1.06 | 09:03:59.752 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
187 | 0187_std_star_cd32.fits | cd32 (CD-32 Standard) | 14:11:48.826 | -33:02:43.522 | 12:45:06.656 | 1.06 | 09:06:32.812 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
188 | 0188_std_star_cd32.fits | cd32 (CD-32 Standard) | 14:11:48.820 | -33:02:43.466 | 12:46:18.881 | 1.06 | 09:07:44.840 | SYZY_400/400WD | 1.0" long slit | 60 | Spectrum.
189 | 0189_std_star_cd32_comp.fits | HgAr Ne (comp) | 14:11:48.829 | -33:02:43.452 | 12:48:43.332 | 1.05 | 09:10:08.896 | SYZY_400/400WD | 1.0" long slit | 0.3
190 | 0190_std_star_cd32_comp.fits | HgAr Ne (comp) | 14:11:48.823 | -33:02:43.483 | 12:49:08.410 | 1.05 | 09:10:33.906 | SYZY_400/400WD | 1.0" long slit | 0.3
191 | 0191_std_star_cd32_comp.fits | HgAr Ne (comp) | 14:11:48.769 | -33:02:43.383 | 12:49:20.447 | 1.05 | 09:10:45.910 | SYZY_400/400WD | 1.0" long slit | 0.3