## elog.SOAR4m.20190126
Date (Local): | 26-27 Jan 2019
MJD: | 58510
Observers: | Butner Garcia Li Tucker
Assistant: | Patricio Ugarte & Carlos Corco
Supp. Scientist: | Sean Points
Instrument: | Goodman Spectrograph
Detector: | Blue Camera
Gain Setting: | 200kHz ATTN2 (2.67e-/ADU)
Binning: | 2x2
Configuration: | WD_400
Slitmask: | 1arcsec longslit (unless otherwise noted)
Conditions: | Clear
Tonight was the 2nd night back in (partial) operations after the 6.7 magnitude earthquake near Coquimbo on the evening of January 19.
A pointing model was attempted at the beginning of the night, but engineering issues prevented us from taking any science data on this night.
expnum | filename | objname | ra | dec | lst | airmass | ut | grating | slit | exptime | comment
Using parallactic angle throughout (unless otherwise noted).
Target spectrum at/near line 450 in 2D spectrum (unless otherwise noted).
1 | 0001_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:08:45.816 | 22:23:46.942 | 22:09:33.426 | 1.66 | 18:29:27.113 | SYZY_400/400WD | 0.45" long slit | 1 | Focus performed by Sean Points in the afternoon.
2 | 0002_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:08:55.840 | 22:23:46.812 | 22:09:43.457 | 1.66 | 18:29:37.117 | SYZY_400/400WD | 0.45" long slit | 1
3 | 0003_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:09:05.865 | 22:23:46.682 | 22:09:53.489 | 1.66 | 18:29:47.121 | SYZY_400/400WD | 0.45" long slit | 1
4 | 0004_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:09:15.889 | 22:23:46.553 | 22:10:02.517 | 1.66 | 18:29:57.125 | SYZY_400/400WD | 0.45" long slit | 1
5 | 0005_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:09:24.911 | 22:23:46.437 | 22:10:13.552 | 1.66 | 18:30:06.128 | SYZY_400/400WD | 0.45" long slit | 1
6 | 0006_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:09:34.935 | 22:23:46.308 | 22:10:22.580 | 1.66 | 18:30:16.132 | SYZY_400/400WD | 0.45" long slit | 1
7 | 0007_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:09:44.959 | 22:23:46.179 | 22:10:32.611 | 1.66 | 18:30:26.136 | SYZY_400/400WD | 0.45" long slit | 1
8 | 0008_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:09:54.983 | 22:23:46.050 | 22:10:42.642 | 1.66 | 18:30:36.140 | SYZY_400/400WD | 0.45" long slit | 1
9 | 0009_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:10:04.004 | 22:23:45.934 | 22:10:52.673 | 1.66 | 18:30:46.144 | SYZY_400/400WD | 0.45" long slit | 1
10 | 0010_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:10:15.031 | 22:23:45.793 | 22:11:01.701 | 1.66 | 18:30:56.148 | SYZY_400/400WD | 0.45" long slit | 1
11 | 0011_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:10:24.052 | 22:23:45.677 | 22:11:11.733 | 1.66 | 18:31:06.151 | SYZY_400/400WD | 0.45" long slit | 1
12 | 0012_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:10:34.076 | 22:23:45.549 | 22:11:21.764 | 1.66 | 18:31:15.155 | SYZY_400/400WD | 0.45" long slit | 1
13 | 0013_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:10:44.101 | 22:23:45.421 | 22:11:31.795 | 1.66 | 18:31:25.159 | SYZY_400/400WD | 0.45" long slit | 1
14 | 0014_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:10:54.125 | 22:23:45.294 | 22:11:41.827 | 1.66 | 18:31:35.163 | SYZY_400/400WD | 0.45" long slit | 1
15 | 0015_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:11:04.149 | 22:23:45.166 | 22:11:50.855 | 1.66 | 18:31:45.167 | SYZY_400/400WD | 0.45" long slit | 1
16 | 0016_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:11:13.171 | 22:23:45.051 | 22:12:00.886 | 1.66 | 18:31:54.171 | SYZY_400/400WD | 0.45" long slit | 1
17 | 0017_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:11:23.195 | 22:23:44.924 | 22:12:10.918 | 1.66 | 18:32:04.174 | SYZY_400/400WD | 0.45" long slit | 1
18 | 0018_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:11:33.219 | 22:23:44.797 | 22:12:20.949 | 1.66 | 18:32:14.178 | SYZY_400/400WD | 0.45" long slit | 1
19 | 0019_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:11:43.243 | 22:23:44.671 | 22:12:30.980 | 1.66 | 18:32:24.182 | SYZY_400/400WD | 0.45" long slit | 1
20 | 0020_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:11:52.265 | 22:23:44.557 | 22:12:41.012 | 1.66 | 18:32:33.186 | SYZY_400/400WD | 0.45" long slit | 1
21 | 0021_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:12:02.289 | 22:23:44.430 | 22:12:50.040 | 1.66 | 18:32:43.190 | SYZY_400/400WD | 0.45" long slit | 1
22 | 0022_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:14:57.709 | 22:23:42.246 | 22:15:45.587 | 1.66 | 18:35:38.257 | SYZY_400/400WD | 0.45" long slit | 1
23 | 0023_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:15:06.730 | 22:23:42.135 | 22:15:55.618 | 1.66 | 18:35:48.261 | SYZY_400/400WD | 0.45" long slit | 1
24 | 0024_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:15:16.754 | 22:23:42.012 | 22:16:04.646 | 1.66 | 18:35:57.265 | SYZY_400/400WD | 0.45" long slit | 1
25 | 0025_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:15:26.778 | 22:23:41.890 | 22:16:14.677 | 1.66 | 18:36:07.269 | SYZY_400/400WD | 0.45" long slit | 1
26 | 0026_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:15:36.802 | 22:23:41.767 | 22:16:24.709 | 1.66 | 18:36:17.273 | SYZY_400/400WD | 0.45" long slit | 1
27 | 0027_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:15:45.824 | 22:23:41.657 | 22:16:34.740 | 1.66 | 18:36:27.277 | SYZY_400/400WD | 0.45" long slit | 1
28 | 0028_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:15:56.851 | 22:23:41.522 | 22:16:43.769 | 1.66 | 18:36:37.281 | SYZY_400/400WD | 0.45" long slit | 1
29 | 0029_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:16:05.872 | 22:23:41.412 | 22:16:53.800 | 1.66 | 18:36:47.285 | SYZY_400/400WD | 0.45" long slit | 1
30 | 0030_focus_400wd.fits | Focus 400WD (Focus 400WD) | 22:16:15.896 | 22:23:41.291 | 22:17:03.831 | 1.66 | 18:36:56.288 | SYZY_400/400WD | 0.45" long slit | 1 | Best focus: +1750
31 | 0031_dflat.fits | Dome flat | 23:15:18.292 | 22:23:10.055 | 23:16:08.892 | 1.66 | 19:35:51.669 | SYZY_400/400WD | 1.0" long slit | 7 | Sean Points recommends dome flats rather than quartz flats
32 | 0032_dflat.fits | Dome flat | 23:17:49.646 | 22:23:09.261 | 23:18:41.366 | 1.66 | 19:38:23.728 | SYZY_400/400WD | 1.0" long slit | 7 | (quartz flats have systematic noise in the red end of the spectrum)
33 | 0033_dflat.fits | Dome flat | 23:18:09.693 | 22:23:09.160 | 23:19:00.426 | 1.66 | 19:38:42.735 | SYZY_400/400WD | 1.0" long slit | 7
34 | 0034_dflat.fits | Dome flat | 23:18:28.738 | 22:23:09.064 | 23:19:19.486 | 1.66 | 19:39:01.743 | SYZY_400/400WD | 1.0" long slit | 7
35 | 0035_dflat.fits | Dome flat | 23:18:47.782 | 22:23:08.969 | 23:19:39.548 | 1.66 | 19:39:20.750 | SYZY_400/400WD | 1.0" long slit | 7
36 | 0036_dflat.fits | Dome flat | 23:19:06.827 | 22:23:08.874 | 23:19:58.607 | 1.66 | 19:39:39.758 | SYZY_400/400WD | 1.0" long slit | 7
37 | 0037_dflat.fits | Dome flat | 23:19:26.874 | 22:23:08.776 | 23:20:17.667 | 1.66 | 19:39:59.766 | SYZY_400/400WD | 1.0" long slit | 7
38 | 0038_dflat.fits | Dome flat | 23:19:45.919 | 22:23:08.683 | 23:20:36.727 | 1.66 | 19:40:18.773 | SYZY_400/400WD | 1.0" long slit | 7
39 | 0039_dflat.fits | Dome flat | 23:20:04.963 | 22:23:08.591 | 23:20:55.787 | 1.66 | 19:40:37.781 | SYZY_400/400WD | 1.0" long slit | 7
40 | 0040_dflat.fits | Dome flat | 23:20:24.008 | 22:23:08.499 | 23:21:14.846 | 1.66 | 19:40:56.789 | SYZY_400/400WD | 1.0" long slit | 7
41 | 0041_dflat.fits | Dome flat | 23:20:44.055 | 22:23:08.404 | 23:21:33.905 | 1.66 | 19:41:16.796 | SYZY_400/400WD | 1.0" long slit | 7
42 | 0042_dflat.fits | Dome flat | 23:21:03.099 | 22:23:08.314 | 23:21:53.968 | 1.66 | 19:41:35.803 | SYZY_400/400WD | 1.0" long slit | 7
43 | 0043_dflat.fits | Dome flat | 23:21:22.144 | 22:23:08.224 | 23:22:13.027 | 1.66 | 19:41:54.811 | SYZY_400/400WD | 1.0" long slit | 7
44 | 0044_dflat.fits | Dome flat | 23:21:41.189 | 22:23:08.136 | 23:22:32.087 | 1.66 | 19:42:13.819 | SYZY_400/400WD | 1.0" long slit | 7
45 | 0045_dflat.fits | Dome flat | 23:22:00.233 | 22:23:08.048 | 23:22:52.150 | 1.66 | 19:42:32.826 | SYZY_400/400WD | 1.0" long slit | 7
46 | 0046_dflat.fits | Dome flat | 23:22:19.278 | 22:23:07.961 | 23:23:11.209 | 1.66 | 19:42:52.834 | SYZY_400/400WD | 1.0" long slit | 7
47 | 0047_dflat.fits | Dome flat | 23:22:39.325 | 22:23:07.870 | 23:23:30.269 | 1.66 | 19:43:11.841 | SYZY_400/400WD | 1.0" long slit | 7
48 | 0048_dflat.fits | Dome flat | 23:22:58.369 | 22:23:07.784 | 23:23:49.328 | 1.66 | 19:43:30.849 | SYZY_400/400WD | 1.0" long slit | 7
49 | 0049_dflat.fits | Dome flat | 23:23:17.414 | 22:23:07.699 | 23:24:08.387 | 1.66 | 19:43:49.856 | SYZY_400/400WD | 1.0" long slit | 7
50 | 0050_dflat.fits | Dome flat | 23:23:36.459 | 22:23:07.615 | 23:24:28.451 | 1.66 | 19:44:08.864 | SYZY_400/400WD | 1.0" long slit | 7
51 | 0051_dflat.fits | Dome flat | 23:23:56.506 | 22:23:07.527 | 23:24:47.510 | 1.66 | 19:44:28.872 | SYZY_400/400WD | 1.0" long slit | 7
52 | 0052_dflat.fits | Dome flat | 23:24:15.551 | 22:23:07.444 | 23:25:06.570 | 1.66 | 19:44:47.879 | SYZY_400/400WD | 1.0" long slit | 7
53 | 0053_dflat.fits | Dome flat | 23:24:34.595 | 22:23:07.362 | 23:25:25.629 | 1.66 | 19:45:06.887 | SYZY_400/400WD | 1.0" long slit | 7
54 | 0054_dflat.fits | Dome flat | 23:24:53.639 | 22:23:07.281 | 23:25:44.688 | 1.66 | 19:45:25.894 | SYZY_400/400WD | 1.0" long slit | 7
55 | 0055_dflat.fits | Dome flat | 23:25:12.684 | 22:23:07.200 | 23:26:04.751 | 1.66 | 19:45:44.901 | SYZY_400/400WD | 1.0" long slit | 7
56 | 0056_dflat.fits | Dome flat | 23:25:31.728 | 22:23:07.120 | 23:26:23.810 | 1.66 | 19:46:03.908 | SYZY_400/400WD | 1.0" long slit | 7
57 | 0057_dflat.fits | Dome flat | 23:25:51.776 | 22:23:07.037 | 23:26:42.870 | 1.66 | 19:46:23.917 | SYZY_400/400WD | 1.0" long slit | 7
58 | 0058_dflat.fits | Dome flat | 23:26:10.820 | 22:23:06.959 | 23:27:01.930 | 1.66 | 19:46:42.924 | SYZY_400/400WD | 1.0" long slit | 7
59 | 0059_dflat.fits | Dome flat | 23:26:29.865 | 22:23:06.881 | 23:27:20.989 | 1.66 | 19:47:01.932 | SYZY_400/400WD | 1.0" long slit | 7
60 | 0060_dflat.fits | Dome flat | 23:26:48.909 | 22:23:06.804 | 23:27:40.049 | 1.66 | 19:47:20.939 | SYZY_400/400WD | 1.0" long slit | 7
61 | 0061_dflat.fits | Dome flat | 23:27:08.956 | 22:23:06.728 | 23:28:00.111 | 1.66 | 19:47:40.947 | SYZY_400/400WD | 1.0" long slit | 7
62 | 0062_dflat.fits | Dome flat | 23:27:28.001 | 22:23:06.653 | 23:28:19.170 | 1.66 | 19:47:59.954 | SYZY_400/400WD | 1.0" long slit | 7
63 | 0063_dflat.fits | Dome flat | 23:27:47.045 | 22:23:06.574 | 23:28:38.230 | 1.66 | 19:48:18.962 | SYZY_400/400WD | 1.0" long slit | 7
64 | 0064_dflat.fits | Dome flat | 23:28:06.089 | 22:23:06.500 | 23:28:57.289 | 1.66 | 19:48:37.969 | SYZY_400/400WD | 1.0" long slit | 7
65 | 0065_dflat.fits | Dome flat | 23:28:25.134 | 22:23:06.427 | 23:29:16.349 | 1.66 | 19:48:56.977 | SYZY_400/400WD | 1.0" long slit | 7
66 | 0066_dflat.fits | Dome flat | 23:28:45.182 | 22:23:06.350 | 23:29:35.409 | 1.66 | 19:49:16.985 | SYZY_400/400WD | 1.0" long slit | 7
67 | 0067_dflat.fits | Dome flat | 23:29:04.226 | 22:23:06.279 | 23:29:55.472 | 1.66 | 19:49:35.993 | SYZY_400/400WD | 1.0" long slit | 7
68 | 0068_dflat.fits | Dome flat | 23:29:23.271 | 22:23:06.207 | 23:30:14.531 | 1.66 | 19:49:55.000 | SYZY_400/400WD | 1.0" long slit | 7
69 | 0069_dflat.fits | Dome flat | 23:29:42.316 | 22:23:06.137 | 23:30:33.591 | 1.66 | 19:50:14.008 | SYZY_400/400WD | 1.0" long slit | 7
70 | 0070_dflat.fits | Dome flat | 23:30:01.361 | 22:23:06.068 | 23:30:53.654 | 1.66 | 19:50:33.016 | SYZY_400/400WD | 1.0" long slit | 7
71 | 0071_dflat.fits | Dome flat | 23:30:20.405 | 22:23:05.999 | 23:31:12.713 | 1.66 | 19:50:52.023 | SYZY_400/400WD | 1.0" long slit | 7
72 | 0072_dflat.fits | Dome flat | 23:30:40.452 | 22:23:05.927 | 23:31:31.773 | 1.66 | 19:51:12.030 | SYZY_400/400WD | 1.0" long slit | 7
73 | 0073_dflat.fits | Dome flat | 23:30:59.496 | 22:23:05.859 | 23:31:50.832 | 1.66 | 19:51:31.038 | SYZY_400/400WD | 1.0" long slit | 7
74 | 0074_dflat.fits | Dome flat | 23:31:18.541 | 22:23:05.793 | 23:32:09.891 | 1.66 | 19:51:50.045 | SYZY_400/400WD | 1.0" long slit | 7
75 | 0075_dflat.fits | Dome flat | 23:31:37.585 | 22:23:05.727 | 23:32:28.951 | 1.66 | 19:52:09.053 | SYZY_400/400WD | 1.0" long slit | 7
76 | 0076_dflat.fits | Dome flat | 23:31:57.632 | 22:23:05.658 | 23:32:49.013 | 1.66 | 19:52:29.060 | SYZY_400/400WD | 1.0" long slit | 7
77 | 0077_dflat.fits | Dome flat | 23:32:16.677 | 22:23:05.594 | 23:33:08.073 | 1.66 | 19:52:48.068 | SYZY_400/400WD | 1.0" long slit | 7
78 | 0078_dflat.fits | Dome flat | 23:32:35.722 | 22:23:05.530 | 23:33:27.133 | 1.66 | 19:53:07.076 | SYZY_400/400WD | 1.0" long slit | 7
79 | 0079_dflat.fits | Dome flat | 23:32:54.767 | 22:23:05.467 | 23:33:46.193 | 1.66 | 19:53:26.084 | SYZY_400/400WD | 1.0" long slit | 7
80 | 0080_dflat.fits | Dome flat | 23:33:14.813 | 22:23:05.401 | 23:34:05.252 | 1.66 | 19:53:46.091 | SYZY_400/400WD | 1.0" long slit | 7
81 | 0081_comp.fits | HgAr Ne | 23:38:32.557 | 22:23:04.470 | 23:39:24.248 | 1.66 | 19:59:03.216 | SYZY_400/400WD | 1.0" long slit | 0.3
82 | 0082_comp.fits | HgAr Ne | 23:40:14.795 | 22:23:04.213 | 23:41:07.570 | 1.66 | 20:00:45.255 | SYZY_400/400WD | 1.0" long slit | 0.3
83 | 0083_comp.fits | HgAr Ne | 23:40:27.826 | 22:23:04.182 | 23:41:19.608 | 1.66 | 20:00:58.261 | SYZY_400/400WD | 1.0" long slit | 0.3
84 | 0084_comp.fits | HgAr Ne | 23:40:39.855 | 22:23:04.153 | 23:41:32.649 | 1.66 | 20:01:10.266 | SYZY_400/400WD | 1.0" long slit | 0.3
85 | 0085_comp.fits | HgAr Ne | 23:40:52.885 | 22:23:04.123 | 23:41:44.687 | 1.66 | 20:01:23.271 | SYZY_400/400WD | 1.0" long slit | 0.3
86 | 0086_bias.fits | ZERO | 23:43:07.199 | 22:23:03.827 | 23:43:59.106 | 1.66 | 20:03:37.324 | SYZY_400/400WD | 1.0" long slit | 0
87 | 0087_bias.fits | ZERO | 23:44:22.375 | 22:23:03.678 | 23:45:15.344 | 1.66 | 20:04:53.353 | SYZY_400/400WD | 1.0" long slit | 0
88 | 0088_bias.fits | ZERO | 23:44:34.403 | 22:23:03.655 | 23:45:27.381 | 1.66 | 20:05:05.358 | SYZY_400/400WD | 1.0" long slit | 0
89 | 0089_bias.fits | ZERO | 23:44:47.433 | 22:23:03.631 | 23:45:39.419 | 1.66 | 20:05:17.362 | SYZY_400/400WD | 1.0" long slit | 0
90 | 0090_bias.fits | ZERO | 23:44:59.462 | 22:23:03.608 | 23:45:51.457 | 1.66 | 20:05:29.367 | SYZY_400/400WD | 1.0" long slit | 0
91 | 0091_bias.fits | ZERO | 23:45:11.490 | 22:23:03.586 | 23:46:03.495 | 1.66 | 20:05:41.372 | SYZY_400/400WD | 1.0" long slit | 0
92 | 0092_bias.fits | ZERO | 23:45:23.519 | 22:23:03.565 | 23:46:15.532 | 1.66 | 20:05:54.378 | SYZY_400/400WD | 1.0" long slit | 0
93 | 0093_bias.fits | ZERO | 23:45:35.547 | 22:23:03.543 | 23:46:28.573 | 1.66 | 20:06:06.383 | SYZY_400/400WD | 1.0" long slit | 0
94 | 0094_bias.fits | ZERO | 23:45:48.577 | 22:23:03.520 | 23:46:40.611 | 1.66 | 20:06:18.387 | SYZY_400/400WD | 1.0" long slit | 0
95 | 0095_bias.fits | ZERO | 23:46:00.605 | 22:23:03.500 | 23:46:52.648 | 1.66 | 20:06:30.392 | SYZY_400/400WD | 1.0" long slit | 0
96 | 0096_bias.fits | ZERO | 23:46:12.634 | 22:23:03.479 | 23:47:04.686 | 1.66 | 20:06:42.397 | SYZY_400/400WD | 1.0" long slit | 0
97 | 0097_bias.fits | ZERO | 23:46:24.662 | 22:23:03.459 | 23:47:16.724 | 1.66 | 20:06:54.402 | SYZY_400/400WD | 1.0" long slit | 0
98 | 0098_bias.fits | ZERO | 23:46:36.690 | 22:23:03.439 | 23:47:28.761 | 1.66 | 20:07:06.406 | SYZY_400/400WD | 1.0" long slit | 0
99 | 0099_bias.fits | ZERO | 23:46:48.718 | 22:23:03.419 | 23:47:40.799 | 1.66 | 20:07:19.412 | SYZY_400/400WD | 1.0" long slit | 0
100 | 0100_bias.fits | ZERO | 23:47:01.749 | 22:23:03.400 | 23:47:53.840 | 1.66 | 20:07:31.416 | SYZY_400/400WD | 1.0" long slit | 0
101 | 0101_bias.fits | ZERO | 23:47:13.777 | 22:23:03.379 | 23:48:05.877 | 1.66 | 20:07:43.421 | SYZY_400/400WD | 1.0" long slit | 0
102 | 0102_bias.fits | ZERO | 23:47:25.805 | 22:23:03.361 | 23:48:17.915 | 1.66 | 20:07:55.426 | SYZY_400/400WD | 1.0" long slit | 0
103 | 0103_bias.fits | ZERO | 23:47:37.833 | 22:23:03.342 | 23:48:29.952 | 1.66 | 20:08:07.430 | SYZY_400/400WD | 1.0" long slit | 0
104 | 0104_bias.fits | ZERO | 23:47:49.861 | 22:23:03.324 | 23:48:41.990 | 1.66 | 20:08:19.435 | SYZY_400/400WD | 1.0" long slit | 0
105 | 0105_bias.fits | ZERO | 23:48:01.889 | 22:23:03.306 | 23:48:54.027 | 1.66 | 20:08:31.439 | SYZY_400/400WD | 1.0" long slit | 0
106 | 0106_bias.fits | ZERO | 23:48:14.920 | 22:23:03.287 | 23:49:06.065 | 1.66 | 20:08:44.445 | SYZY_400/400WD | 1.0" long slit | 0
107 | 0107_bias.fits | ZERO | 23:48:26.948 | 22:23:03.270 | 23:49:19.106 | 1.66 | 20:08:56.450 | SYZY_400/400WD | 1.0" long slit | 0
108 | 0108_bias.fits | ZERO | 23:48:38.976 | 22:23:03.253 | 23:49:31.143 | 1.66 | 20:09:08.454 | SYZY_400/400WD | 1.0" long slit | 0
109 | 0109_bias.fits | ZERO | 23:48:51.004 | 22:23:03.236 | 23:49:43.181 | 1.66 | 20:09:20.459 | SYZY_400/400WD | 1.0" long slit | 0
110 | 0110_bias.fits | ZERO | 23:49:03.032 | 22:23:03.220 | 23:49:55.218 | 1.66 | 20:09:32.463 | SYZY_400/400WD | 1.0" long slit | 0
111 | 0111_bias.fits | ZERO | 23:49:15.060 | 22:23:03.204 | 23:50:07.256 | 1.66 | 20:09:44.468 | SYZY_400/400WD | 1.0" long slit | 0
112 | 0112_bias.fits | ZERO | 23:49:27.088 | 22:23:03.188 | 23:50:20.296 | 1.66 | 20:09:56.473 | SYZY_400/400WD | 1.0" long slit | 0
113 | 0113_bias.fits | ZERO | 23:49:39.117 | 22:23:03.173 | 23:50:32.334 | 1.66 | 20:10:09.478 | SYZY_400/400WD | 1.0" long slit | 0
114 | 0114_bias.fits | ZERO | 23:49:52.147 | 22:23:03.156 | 23:50:44.372 | 1.66 | 20:10:21.483 | SYZY_400/400WD | 1.0" long slit | 0
115 | 0115_bias.fits | ZERO | 23:50:04.176 | 22:23:03.141 | 23:50:56.409 | 1.66 | 20:10:33.487 | SYZY_400/400WD | 1.0" long slit | 0
116 | 0116_bias.fits | ZERO | 23:50:16.204 | 22:23:03.127 | 23:51:08.447 | 1.66 | 20:10:45.492 | SYZY_400/400WD | 1.0" long slit | 0
117 | 0117_bias.fits | ZERO | 23:50:28.233 | 22:23:03.112 | 23:51:21.488 | 1.66 | 20:10:57.498 | SYZY_400/400WD | 1.0" long slit | 0
118 | 0118_bias.fits | ZERO | 23:50:40.261 | 22:23:03.098 | 23:51:32.523 | 1.66 | 20:11:09.502 | SYZY_400/400WD | 1.0" long slit | 0
119 | 0119_bias.fits | ZERO | 23:50:52.288 | 22:23:03.085 | 23:51:45.563 | 1.66 | 20:11:21.507 | SYZY_400/400WD | 1.0" long slit | 0
120 | 0120_bias.fits | ZERO | 23:51:05.319 | 22:23:03.070 | 23:51:57.601 | 1.66 | 20:11:34.512 | SYZY_400/400WD | 1.0" long slit | 0
121 | 0121_bias.fits | ZERO | 23:51:17.347 | 22:23:03.057 | 23:52:09.638 | 1.66 | 20:11:46.516 | SYZY_400/400WD | 1.0" long slit | 0
122 | 0122_bias.fits | ZERO | 23:51:29.375 | 22:23:03.044 | 23:52:21.676 | 1.66 | 20:11:58.521 | SYZY_400/400WD | 1.0" long slit | 0
123 | 0123_bias.fits | ZERO | 23:51:41.403 | 22:23:03.031 | 23:52:33.713 | 1.66 | 20:12:10.525 | SYZY_400/400WD | 1.0" long slit | 0
124 | 0124_bias.fits | ZERO | 23:51:53.431 | 22:23:03.019 | 23:52:45.751 | 1.66 | 20:12:22.530 | SYZY_400/400WD | 1.0" long slit | 0
125 | 0125_bias.fits | ZERO | 23:52:06.462 | 22:23:03.006 | 23:52:57.788 | 1.66 | 20:12:35.535 | SYZY_400/400WD | 1.0" long slit | 0
126 | 0126_bias.fits | ZERO | 23:52:18.490 | 22:23:02.995 | 23:53:10.829 | 1.66 | 20:12:47.540 | SYZY_400/400WD | 1.0" long slit | 0
127 | 0127_bias.fits | ZERO | 23:52:30.518 | 22:23:02.983 | 23:53:22.866 | 1.66 | 20:12:59.544 | SYZY_400/400WD | 1.0" long slit | 0
128 | 0128_bias.fits | ZERO | 23:52:42.546 | 22:23:02.972 | 23:53:34.903 | 1.66 | 20:13:11.549 | SYZY_400/400WD | 1.0" long slit | 0
129 | 0129_bias.fits | ZERO | 23:52:54.573 | 22:23:02.961 | 23:53:46.941 | 1.66 | 20:13:23.553 | SYZY_400/400WD | 1.0" long slit | 0
130 | 0130_bias.fits | ZERO | 23:53:06.602 | 22:23:02.951 | 23:53:58.978 | 1.66 | 20:13:35.558 | SYZY_400/400WD | 1.0" long slit | 0
131 | 0131_bias.fits | ZERO | 23:53:18.630 | 22:23:02.941 | 23:54:11.016 | 1.66 | 20:13:47.563 | SYZY_400/400WD | 1.0" long slit | 0
132 | 0132_bias.fits | ZERO | 23:53:31.660 | 22:23:02.930 | 23:54:24.057 | 1.66 | 20:14:00.568 | SYZY_400/400WD | 1.0" long slit | 0
133 | 0133_bias.fits | ZERO | 23:53:43.688 | 22:23:02.920 | 23:54:36.094 | 1.66 | 20:14:12.572 | SYZY_400/400WD | 1.0" long slit | 0
134 | 0134_bias.fits | ZERO | 23:53:55.716 | 22:23:02.911 | 23:54:48.132 | 1.66 | 20:14:24.577 | SYZY_400/400WD | 1.0" long slit | 0
135 | 0135_bias.fits | ZERO | 23:54:07.744 | 22:23:02.902 | 23:55:00.169 | 1.66 | 20:14:36.581 | SYZY_400/400WD | 1.0" long slit | 0